## G6- Division wise Store Data
G6- Division wise Store Data
Howrah Division
Sl. No. | Transaction Date | HR Number | Item Description | Item Code | Class | Dia (mm) | Unit | Wo Number | WO Date | Work Name | Agency | Scheme | Opening | Issue | Closing
1 | 29/07/2024 | ISS/000001/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 454/HD | 01/02/2024 | Construction of Pump House, Boundary Wall, 400 cum Capacity OHR, Rising Main, Laying Distribution Pipeline & Providing FHTC (2554 nos) For Augmentation of Bargachia PWSS (Zone-VII) in Jagatballavpur Block under Howrah Sadar Sub-Division of Howrah Division | M/S ASHA CONSTRUCTION | DPR for the augmentation scheme of Bargachia PWSS under Howrah Division ( SM/14095 ) | 101065 | 2554 | 98511
2 | 31/07/2024 | TRN/000003/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 98511 | 3527 | 94984
3 | 31/07/2024 | ISS/000003/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 998/HD | 13/03/2023 | Work Order for Laying distribution pipe line, Providing FHTC , Repairing of RCC Over Head Reservoir of capacity 350cum with allied work including supply of all labour & materials for Augmentation Of BHANDARDAH Water Supply Scheme at Domjur Block under Ho | P. B ENTERPRISE(PINTU BHADURI) | Bhandardah PWSS with provision of FHTC connection ( SM/14197 ) | 98511 | 3527 | 94984
4 | 23/09/2024 | TRN/000007/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 92284 | 417 | 91867
5 | 23/09/2024 | ISS/000010/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 217/HD | 17/01/2024 | Construction of Pump House (5.40m x 3.60m) at 1st Tube Well Site, Laying of Rising main from Tube well including Road restoration & specials, Laying of Distribution system & providing Functional Household Tap Connection (FHTC) for Augmentation of KESHABPU | UNIQUE AGENCY | Augmentation of Keshabpur Water supply scheme ( SM/16947 ) | 92284 | 417 | 91867
6 | 30/09/2024 | TRN/000008/2024-2025 | D.I. Pipe | MI/01868 | K9 | 400 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 836 | 836 | 0
7 | 30/09/2024 | TRN/000008/2024-2025 | D.I. Pipe | MI/01870 | K9 | 600 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1496 | 1496 | 0
8 | 30/09/2024 | TRN/000008/2024-2025 | D.I. Pipe | MI/01873 | K9 | 800 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 880 | 880 | 0
9 | 30/09/2024 | ISS/000001/2024-2025 | D.I. Pipe | MI/01867 | K9 | 350 | Meter | 1288/HD | 13/03/2024 | Surveying, designing, laying, commissioning of two separate rising mains for conveyance of treated water from CWR at Sankrail WTP premises to 14 nos. OHRs (12 nos. new, 02 no. existing) falling under jurisdiction of PHE Dte. at Sankrail, Domjur (Part), Pa | ECO PROTECTION ENGINEERS PRIVATE LIMITED | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 6171 | 6171 | 0
10 | 30/09/2024 | ISS/000001/2024-2025 | D.I. Pipe | MI/01868 | K9 | 400 | Meter | 1288/HD | 13/03/2024 | Surveying, designing, laying, commissioning of two separate rising mains for conveyance of treated water from CWR at Sankrail WTP premises to 14 nos. OHRs (12 nos. new, 02 no. existing) falling under jurisdiction of PHE Dte. at Sankrail, Domjur (Part), Pa | ECO PROTECTION ENGINEERS PRIVATE LIMITED | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 880 | 880 | 0
11 | 30/09/2024 | ISS/000001/2024-2025 | D.I. Pipe | MI/01870 | K9 | 600 | Meter | 1288/HD | 13/03/2024 | Surveying, designing, laying, commissioning of two separate rising mains for conveyance of treated water from CWR at Sankrail WTP premises to 14 nos. OHRs (12 nos. new, 02 no. existing) falling under jurisdiction of PHE Dte. at Sankrail, Domjur (Part), Pa | ECO PROTECTION ENGINEERS PRIVATE LIMITED | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 1496 | 1496 | 0
12 | 30/09/2024 | ISS/000001/2024-2025 | D.I. Pipe | MI/01873 | K9 | 800 | Meter | 1288/HD | 13/03/2024 | Surveying, designing, laying, commissioning of two separate rising mains for conveyance of treated water from CWR at Sankrail WTP premises to 14 nos. OHRs (12 nos. new, 02 no. existing) falling under jurisdiction of PHE Dte. at Sankrail, Domjur (Part), Pa | ECO PROTECTION ENGINEERS PRIVATE LIMITED | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 880 | 880 | 0
13 | 22/10/2024 | TRN/000009/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 91867 | 494 | 91373
14 | 22/10/2024 | ISS/000011/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3041/HD | 22/08/2023 | Construction of 3 (Three) Nos.Pump House (5.40m x 3.60 m), Construction of Boundary Wall at Head work Site, Domjur Zone-VIII, Construction of 2(Two) nos. Boundary Wall, Laying Rising Main Pipeline Work, Laying Distribution Pipeline work, Providing FHTC (F | TUSHAR KANTI GHOSH | Ground water based water supply Scheme for Domjur (Zone-VIII) Domjur (CT) and its adjoining areas to Accommodate FHTC in Domjur Block, Diatrict-Howrah ( SM/14155 ) | 91867 | 494 | 91373
15 | 24/10/2024 | TRN/000003/2024-2025 | D.I. Pipe | MI/01859 | K7 | 450 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 660 | 203 | 456
16 | 24/10/2024 | TRN/000003/2024-2025 | D.I. Pipe | MI/01864 | K9 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 3679 | 38 | 3641
17 | 24/10/2024 | ISS/000002/2024-2025 | D.I. Pipe | MI/01859 | K7 | 450 | Meter | 1842/HD | 08/09/2022 | Work Order for Construction Of 1250 cum Capacity, 20mtr. Staging Height RCC Elevated Reservoir with Rising Main Pipeline Work & Laying Distribution Pipeline & Providing FHTC (Functional Household Tap Connection) of Augmentation of Jujarsah PWSS Panchl | G.B. CONSTRUCTION AND CO | Augmentation of Ground water based PWSS Jujarsah ( SM/10146 ) | 660 | 203 | 456
18 | 24/10/2024 | ISS/000002/2024-2025 | D.I. Pipe | MI/01864 | K9 | 200 | Meter | 1842/HD | 08/09/2022 | Work Order for Construction Of 1250 cum Capacity, 20mtr. Staging Height RCC Elevated Reservoir with Rising Main Pipeline Work & Laying Distribution Pipeline & Providing FHTC (Functional Household Tap Connection) of Augmentation of Jujarsah PWSS Panchl | G.B. CONSTRUCTION AND CO | Augmentation of Ground water based PWSS Jujarsah ( SM/10146 ) | 3679 | 38 | 3641
19 | 24/10/2024 | TRN/000011/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 91373 | 180 | 91193
20 | 24/10/2024 | ISS/000012/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 2820/HD | 20/06/2024 | Laying distribution system (LDS) of existing drawing for 225 mm dia from (Node point J127-J488), for 200 mm dia (Node point J136-J144), for 180 mm dia (Node point J144-J148), for 160 mm dia (Node point J148-J508 & J10-J17), for 140 mm dia (Node point J | GHOSH ENTERPRISE | Nimabalia Piped Water Supply Scheme, Block-Jagatballavpur, Dist- Howrah. ( SM/13770 ) | 91373 | 180 | 91193
21 | 25/11/2024 | TRN/000017/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 88752 | 1000 | 87752
22 | 25/11/2024 | ISS/000018/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1188/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-6A for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 3997] | M/S. GHOSH CONSTRUCTION | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 88752 | 1000 | 87752
23 | 19/12/2024 | TRN/000006/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 2447 | 203 | 2244
24 | 19/12/2024 | ISS/000021/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 217/HD | 17/01/2024 | Construction of Pump House (5.40m x 3.60m) at 1st Tube Well Site, Laying of Rising main from Tube well including Road restoration & specials, Laying of Distribution system & providing Functional Household Tap Connection (FHTC) for Augmentation of KESHABPU | UNIQUE AGENCY | Augmentation of Keshabpur Water supply scheme ( SM/16947 ) | 203 | 203 | 0
25 | 26/12/2024 | ISS/000022/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 1186/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-2 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 5396] | LIMRA CONSTRUCTION AND INDUSTRIAL DEVELOPMENT | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 1166 | 1166 | 0
26 | 26/12/2024 | ISS/000022/2024-2025 | D.I. Pipe | MI/01856 | K7 | 300 | Meter | 1186/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-2 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 5396] | LIMRA CONSTRUCTION AND INDUSTRIAL DEVELOPMENT | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 1677 | 1677 | 0
27 | 26/12/2024 | ISS/000022/2024-2025 | D.I. Pipe | MI/01857 | K7 | 350 | Meter | 1186/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-2 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 5396] | LIMRA CONSTRUCTION AND INDUSTRIAL DEVELOPMENT | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 561 | 363 | 198
28 | 30/12/2024 | TRN/000007/2024-2025 | D.I. Pipe | MI/01855 | K7 | 250 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 3085 | 1688 | 1397
29 | 30/12/2024 | TRN/000007/2024-2025 | D.I. Pipe | MI/01856 | K7 | 300 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1875 | 803 | 1072
30 | 30/12/2024 | TRN/000007/2024-2025 | D.I. Pipe | MI/01857 | K7 | 350 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 2170 | 599 | 1571
31 | 30/12/2024 | ISS/000002/2024-2025 | D.I. Pipe | MI/01855 | K7 | 250 | Meter | 1831/HD | 02/05/2023 | Work Order for Construction of 4 Nos Pump House (5.40m x 3.60m) at 1st 2nd,3rd &4th Tube Well Site, Construction of Boundary Wall at 1st Tube Well Site, 3 nos Boundary Wall at 2nd , 3rd & 4th Tube Well SiteConstruction of 450 cum Capacity, 20mtr. Staging | PRAVAT SARKAR | Domjur (Zone-II) Uttar Jhapardaha PWSS with provision of FHTC Connection, Block- Domjur, District-Howrah. ( SM/17175 ) | 1688 | 1688 | 0
32 | 30/12/2024 | ISS/000002/2024-2025 | D.I. Pipe | MI/01856 | K7 | 300 | Meter | 1831/HD | 02/05/2023 | Work Order for Construction of 4 Nos Pump House (5.40m x 3.60m) at 1st 2nd,3rd &4th Tube Well Site, Construction of Boundary Wall at 1st Tube Well Site, 3 nos Boundary Wall at 2nd , 3rd & 4th Tube Well SiteConstruction of 450 cum Capacity, 20mtr. Staging | PRAVAT SARKAR | Domjur (Zone-II) Uttar Jhapardaha PWSS with provision of FHTC Connection, Block- Domjur, District-Howrah. ( SM/17175 ) | 803 | 803 | 0
33 | 30/12/2024 | ISS/000002/2024-2025 | D.I. Pipe | MI/01857 | K7 | 350 | Meter | 1831/HD | 02/05/2023 | Work Order for Construction of 4 Nos Pump House (5.40m x 3.60m) at 1st 2nd,3rd &4th Tube Well Site, Construction of Boundary Wall at 1st Tube Well Site, 3 nos Boundary Wall at 2nd , 3rd & 4th Tube Well SiteConstruction of 450 cum Capacity, 20mtr. Staging | PRAVAT SARKAR | Domjur (Zone-II) Uttar Jhapardaha PWSS with provision of FHTC Connection, Block- Domjur, District-Howrah. ( SM/17175 ) | 599 | 599 | 0
34 | 02/01/2025 | TRN/000019/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 86752 | 1000 | 85752
35 | 02/01/2025 | ISS/000023/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1186/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-2 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 5396] | LIMRA CONSTRUCTION AND INDUSTRIAL DEVELOPMENT | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 86752 | 1000 | 85752
36 | 02/01/2025 | TRN/000020/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 85752 | 3000 | 82752
37 | 02/01/2025 | ISS/000024/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1172/HD | 07/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-8 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 9861] | BALAJI UDDYOG | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 85752 | 3000 | 82752
38 | 11/03/2025 | ISS/000040/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 1174/HD | 07/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-9B for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 5717] | MONDAL ENTERPISE | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 3058 | 3058 | 0
39 | 11/03/2025 | ISS/000040/2024-2025 | D.I. Pipe | MI/01855 | K7 | 250 | Meter | 1174/HD | 07/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-9B for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 5717] | MONDAL ENTERPISE | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 9911 | 990 | 8921
40 | 18/09/2025 | ISS/000019/2025-2026 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1165/HD | 07/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-11 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 8889] | M/S R S CONSTRUCTION | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 69567 | 2000 | 67567
41 | 06/11/2025 | ISS/000003/2025-2026 | D.I. Pipe | MI/01863 | K9 | 150 | metre | 1070/HD | 27/02/2025 | Construction of 1 (one) no.Pump House (5.40m x 3.60m) at 3rd tube well site,Construction of 1(One) no. boundary wall at 3 rd Tube well site, Construction of land Development and approach road at 3rd tubewell site and allied pipe laying work (DI and UPVC | S.S ENTERPRISE | DEULPUR-GANGADHARPUR (ZONE-II) PIPED WATER SUPPLY SCHEME. ( SM/14154 ) | 640 | 640 | 0
42 | 28/11/2025 | ISS/000022/2025-2026 | D.I. Pipe | MI/01854 | K7 | 200 | metre | 1191/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-4 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 1810] | M/S SHIBAM ENTERPRISE | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 979 | 643 | 335
43 | 28/11/2025 | ISS/000022/2025-2026 | D.I. Pipe | MI/01856 | K7 | 300 | metre | 1191/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-4 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 1810] | M/S SHIBAM ENTERPRISE | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 1738 | 660 | 1078
44 | 28/11/2025 | ISS/000022/2025-2026 | D.I. Pipe | MI/01857 | K7 | 350 | metre | 1191/HD | 09/03/2024 | Laying Distribution Pipeline and providing FHTC at Zone-4 for Augmentation of Sankrail Surface Water Based Project of Howrah District under Howrah Division, P. H. E. Dte. [No. of FHTC = 1810] | M/S SHIBAM ENTERPRISE | Augmentation of surface water based Sankrail Piped water supply scheme ( SM/19187 ) | 742 | 550 | 192
45 | 31/12/2025 | ISS/000023/2025-2026 | D.I. Pipe | MI/01854 | K7 | 200 | metre | 3997/HD | 24/09/2025 | Continuation order for Operation & Maintenance of Sahapur and Beldubi Piped Water Supply Scheme (Block-Panchla) under Howrah Sadar Sub Division of Howrah Division, PHE Dte. [Period from 01/10/2025 to 31/12/2025] | ABONTICA ENTERPRISE | Ground Water Based Piped Water Supply Scheme for Sahapur & adj. mouzas. ( SM/04450 ) | 434 | 99 | 335