## G6- Division wise Store Data
G6- Division wise Store Data
Raiganj Division
Sl. No. | Transaction Date | HR Number | Item Description | Item Code | Class | Dia (mm) | Unit | Wo Number | WO Date | Work Name | Agency | Scheme | Opening | Issue | Closing
1 | 01/04/2024 | ISS/000001/2024-2025 | D.I. Pipe | MI/01863 | K9 | 150 | Meter | 1920/RD/PHE | 28/10/2022 | Construction of Boundary Wall, Pump House, Laying Pipeline and Providing FHTC in Connection with Source Augmentation of Sherpur Piped Water Supply Scheme of Raiganj Block in the District of Uttar Dinajpur under Raiganj Division, P.H.E. Dte. | BIKASH KAR | Source Augmentation for Sherpur Piped Water Supply Scheme under Raiganj Block in the District of Uttar Dinajpur under Raiganj Division P.H.E. Dte. ( SM/13015 ) | 18251 | 27 | 18223
2 | 29/08/2024 | TRN/000001/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Augmentation of Ground Water Based Piped Water Supply Scheme for Karandighi Zone-I in Karandighi Block under Raiganj Division, P.H.E. Dte. in the district of Uttar Dinajpur. ( SM/11721 ) | 1061 | 456 | 605
3 | 29/08/2024 | TRN/000002/2024-2025 | D.I. Pipe | MI/01863 | K9 | 150 | Meter |  |  |  |  | Augmentation of Ground Water Based Piped Water Supply Scheme for Karandighi Zone-II in Karandighi Block under Raiganj Division, P.H.E. Dte. in the district of Uttar Dinajpur. ( SM/11794 ) | 22359 | 660 | 21699
4 | 29/08/2024 | TRN/000004/2024-2025 | D.I. Pipe | MI/01855 | K7 | 250 | Meter |  |  |  |  | Gopalpur Piped Water Supply Scheme at Karandighi block in the district of Uttar Dinajpur. ( SM/12785 ) | 2794 | 286 | 2508
5 | 29/08/2024 | TRN/000005/2024-2025 | D.I. Pipe | MI/01855 | K7 | 250 | Meter |  |  |  |  | HEMENPUR Piped Water Supply Scheme ( SM/14180 ) | 2508 | 77 | 2431
6 | 29/08/2024 | TRN/000006/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | AUGMENTATION OF LAKHIPUR PIPED WATER SUPPLY SCHEME ( SM/11724 ) | 605 | 418 | 187
7 | 29/08/2024 | TRN/000007/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | GUNJARIA PWSS ( SM/18296 ) | 187 | 55 | 132
8 | 29/08/2024 | TRN/000008/2024-2025 | D.I. Pipe | MI/01855 | K7 | 250 | Meter |  |  |  |  | LAHUTARA PIPED WATER SUPPLY SCHEME AT KARANDIGHI BLOCK UNDER UTTAR DINAJPUR DISTRICT. ( SM/14165 ) | 2431 | 44 | 2387
9 | 29/08/2024 | TRN/000003/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | BUDHRA PWSS ( SM/19012 ) | 132 | 132 | 0
10 | 15/09/2025 | ISS/000043/2025-2026 | C.I.D.F Sluice Valve | MI/06358 | PN 10 | 200 mm | Nos | 1741/RD/PHE | 24/06/2025 | Continuation Order Day to Day operation, efficient monitoring, repairing leakages/crackages/ bursting, washing/ flushing Reservoir/ conduits, providing supply of safe drinking water uninterruptedly to stand posts/ off-takes during supply hours, as the cas | RAHUL ENTERPRISE RNJRAHULENTERPRISE@GMAIL.COM | Piped Water Supply Scheme for Phulatti & Adj. Mouzas ( SM/03738 ) | 45 | 1 | 44
11 | 13/04/2026 | ISS/000002/2026-2027 | CI DT Joint | MI/06405 |  | 80 mm | Set | 3325/RD/PHE | 31/12/2025 | Continuation for Day to Day Continuation for Operation, efficient monitoring, repairing leakages/crackages/ bursting, washing/ flushing Reservoir/ conduits, providing supply of safe drinking water uninterruptedly to stand posts/ off-takes during supply ho | LOKNATH CO-OP. LBOUR CONTRACT & CONSTRUCTION SOCIETY LTD. | MARNAI WATER SUPPLY SCHEME ( SM/00281 ) | 1893 | 6 | 1887
12 | 13/04/2026 | ISS/000002/2026-2027 | CI DT Joint | MI/06406 |  | 100 mm | Set | 3325/RD/PHE | 31/12/2025 | Continuation for Day to Day Continuation for Operation, efficient monitoring, repairing leakages/crackages/ bursting, washing/ flushing Reservoir/ conduits, providing supply of safe drinking water uninterruptedly to stand posts/ off-takes during supply ho | LOKNATH CO-OP. LBOUR CONTRACT & CONSTRUCTION SOCIETY LTD. | MARNAI WATER SUPPLY SCHEME ( SM/00281 ) | 1053 | 6 | 1047
13 | 13/04/2026 | ISS/000002/2026-2027 | CI DT Joint | MI/06409 |  | 150 mm | Set | 3325/RD/PHE | 31/12/2025 | Continuation for Day to Day Continuation for Operation, efficient monitoring, repairing leakages/crackages/ bursting, washing/ flushing Reservoir/ conduits, providing supply of safe drinking water uninterruptedly to stand posts/ off-takes during supply ho | LOKNATH CO-OP. LBOUR CONTRACT & CONSTRUCTION SOCIETY LTD. | MARNAI WATER SUPPLY SCHEME ( SM/00281 ) | 959 | 10 | 949
14 | 13/04/2026 | ISS/000002/2026-2027 | C.I. JIFFY COUPLING | MI/04888 |  | 200 | Piece | 3325/RD/PHE | 31/12/2025 | Continuation for Day to Day Continuation for Operation, efficient monitoring, repairing leakages/crackages/ bursting, washing/ flushing Reservoir/ conduits, providing supply of safe drinking water uninterruptedly to stand posts/ off-takes during supply ho | LOKNATH CO-OP. LBOUR CONTRACT & CONSTRUCTION SOCIETY LTD. | MARNAI WATER SUPPLY SCHEME ( SM/00281 ) | 59 | 2 | 57
15 | 13/04/2026 | ISS/000002/2026-2027 | C.I.D.F Sluice Valve | MI/06358 | PN 10 | 200 mm | Nos | 3325/RD/PHE | 31/12/2025 | Continuation for Day to Day Continuation for Operation, efficient monitoring, repairing leakages/crackages/ bursting, washing/ flushing Reservoir/ conduits, providing supply of safe drinking water uninterruptedly to stand posts/ off-takes during supply ho | LOKNATH CO-OP. LBOUR CONTRACT & CONSTRUCTION SOCIETY LTD. | MARNAI WATER SUPPLY SCHEME ( SM/00281 ) | 40 | 1 | 39