## G6- Division wise Store Data
G6- Division wise Store Data
Alipurduar Division
Sl. No. | Transaction Date | HR Number | Item Description | Item Code | Class | Dia (mm) | Unit | Wo Number | WO Date | Work Name | Agency | Scheme | Opening | Issue | Closing
1 | 12/03/2024 | ISS/000001/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3573ALD | 27/03/2023 | Constructions of pump house & Tube well Boring by ODEX-165 Method of drilling at HW site & 2nd site , laying of distribution system with UPVC pipeline including rising main & delivery connection, Constructions of 250 Cum OHR as per Departmental Desig | MADHAB SAHA | PURBBA NARATHALI PIPED WATER SUPPLY SCHEME. ( SM/16537 ) | 16990 | 0 | 16990
2 | 12/03/2024 | ISS/000002/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3573ALD | 27/03/2023 | Constructions of pump house & Tube well Boring by ODEX-165 Method of drilling at HW site & 2nd site , laying of distribution system with UPVC pipeline including rising main & delivery connection, Constructions of 250 Cum OHR as per Departmental Desig | MADHAB SAHA | PURBBA NARATHALI PIPED WATER SUPPLY SCHEME. ( SM/16537 ) | 16990 | 500 | 16490
3 | 15/03/2024 | TRN/000001/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 16490 | 1807 | 14683
4 | 20/03/2024 | TRN/000003/2023-2024 | D.I. Pipe | MI/01863 | K9 | 150 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 957 | 16 | 940
5 | 20/03/2024 | TRN/000003/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 16490 | 200 | 16290
6 | 20/03/2024 | TRN/000001/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | MADHYA KHAIRBARI PIPED WATER SUPPLY SCHEME ( SM/13248 ) | 12386 | 2462 | 9924
7 | 20/03/2024 | TRN/000004/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 18952 | 300 | 18652
8 | 20/03/2024 | ISS/000003/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 2713/ALD | 23/02/2022 | Construction of Pump House, Boundary Wall, and Tube well Boring by ODEX-195 method of drilling including Rising main for HANTUPARA Piped Water Supply Scheme Under Alipurduar Division PHE DTE. | SUBIR GHOSH | REJUVENATION OF HANTUPARA TG WATER SUPPLY SCHEME' ( SM/09901 ) | 18952 | 300 | 18652
9 | 22/03/2024 | TRN/000005/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 18652 | 224 | 18428
10 | 22/03/2024 | ISS/000004/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1884/ALD | 07/09/2023 | Providing FHTC from existing distribution system as per specification for Rajabhat TG PWSS under Alipurduar Division, PHE Dte. | PRITAM DAS | RAJABHAT TEA GARDEN PIPED WATER SUPPLY SCHEME. ( SM/14093 ) | 18652 | 224 | 18428
11 | 22/03/2024 | TRN/000002/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | DAKSHIN RANGALIBAZNA PIPED WATER SUPPLY SCHEME ( SM/14217 ) | 13039 | 794 | 12245
12 | 22/03/2024 | TRN/000004/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | AUGMENTATION OF BIRPARA WATER SUPPLY SCHEME ( SM/14233 ) | 12245 | 9924 | 2321
13 | 22/03/2024 | TRN/000003/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | BHATPARA TEA GARDEN PIPED WATER SUPPLY SCHEME ( SM/14212 ) | 2321 | 2321 | 0
14 | 27/03/2024 | TRN/000006/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 31467 | 1000 | 30467
15 | 27/03/2024 | ISS/000005/2023-2024 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3155/ALD | 22/02/2023 | Cons. of pump house and Sinking of 250 mm x 200 mm X 150 mtr. big dia. TW at HW site and 2nd site, LDS with UPVC pipeline, Cons. of 350 cum OHR as per Departmental Design & drawing , providing FHTC and others allied works for MADHYA KAMAKHYAGURI PWS | GHOSH & SAHA CONSTRUCTION | MADHYA KAMAKHYAGURI PIPED WATER SUPPLY SCHEME ( SM/15517 ) | 31467 | 1000 | 30467
16 | 03/04/2024 | TRN/000007/2024-2025 | D.I. Pipe | MI/01862 | K9 | 100 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 18793 | 82 | 18711
17 | 03/04/2024 | ISS/000001/2024-2025 | D.I. Pipe | MI/01862 | K9 | 100 | Meter | 675/ALD | 06/03/2024 | Laying of distribution line with HDPE,UPVC and CI/DI pipes, laying of paver block at pump house no-1 and 2 and providing FHTC for Aug. Of Tapshikhata PWSS under Alipurduar Division. | TAPASH DAS | AUGMENTATION OF TAPASHIKHATA PIPED WATER SUPPLY SCHEME ( SM/10676 ) | 18793 | 82 | 18711
18 | 03/04/2024 | TRN/000008/2024-2025 | D.I. Pipe | MI/01863 | K9 | 150 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 957 | 60 | 896
19 | 03/04/2024 | ISS/000002/2024-2025 | D.I. Pipe | MI/01863 | K9 | 150 | Meter | 2920/ALD | 19/01/2023 | Tube well Boring by ODEX-195 Method of drilling of Constructions of 1no. pump house, boundary wall, distribution line with FHTC for Lankapara 20no. Line for Augmentation of Lankapara TG for Lonkapara Hat Area PWSS Under Birpara Sub-Division, Alipurduar Di | SUDDHYA SING LAMA | AUGMENTATION OF LANKAPARA TG FOR LONKAPARA HAT AREA PIPED WATER SUPPLY SCHEME ( SM/11767 ) | 957 | 60 | 896
20 | 15/04/2024 | TRN/000009/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 30467 | 200 | 30267
21 | 15/04/2024 | ISS/000003/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1875/ALD | 07/09/2023 | Providing FHTC from existing distribution system as per specification for Gopalpur TG PWSS under Alipurduar Division, PHE Dte. | NARENDRA BHADANI. | GOPALPUR TEA GARDEN AREA PIPED WATER SUPPLY SCHEME ( SM/10178 ) | 30467 | 200 | 30267
22 | 22/04/2024 | TRN/000010/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 4482 | 198 | 4284
23 | 22/04/2024 | ISS/000004/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 2861/ALD | 17/01/2023 | Cons. of Rig bored TW(2nos) by Reverse Rotary method of drilling at HW and 2nd site, cons of 200 cum OHR at HW including soil testing, cons. of P/H and B/W at HW,2nd site, Laying of rising main, distribution line and providing FHTC as per Departmental D | DILIP MAHATO | ETHELBARI TEA GARDEN AREA PIPED WATER SUPPLY SCHEME ( SM/13449 ) | 4482 | 198 | 4284
24 | 24/04/2024 | TRN/000011/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 30267 | 100 | 30167
25 | 24/04/2024 | ISS/000005/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3193/ALD | 27/02/2023 | Tube well Boring by ODEX-165 Method of drilling at HW, FIRST TUBE WELL site including laying distribution system with new HDPE pipeline , Constructions of 150 Cum OHR as per Departmental Design & drawing , TWO nos pump house & boundary wall, providing FH | S.G. CONSTRUCTION | BHATKHAWA TEA GARDEN PIPED WATER SUPPLY SCHEME ( SM/14211 ) | 30267 | 100 | 30167
26 | 30/04/2024 | ISS/000007/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1113/ALD | 28/07/2023 | Constructions of 250 Cum OHR as per Departmental Design & drawing including laying distribution system with new HDPE pipeline, RISING MAIN, Construction of 2(TWO) NOS of BOUNDARY WALL, 3(THREE) NOS ODEX-165 TUBE WELL, 3(THREE) NOS PUMP HOUSE, Soil Invest | MAHENDRA CHHETRI | UTTAR MANDABARI PIPED WATER SUPPLY SCHEME ( SM/16539 ) | 30167 | 1000 | 29167
27 | 02/05/2024 | TRN/000012/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 4284 | 990 | 3294
28 | 02/05/2024 | TRN/000012/2024-2025 | D.I. Pipe | MI/01863 | K9 | 150 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 896 | 495 | 401
29 | 02/05/2024 | ISS/000006/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 1114/ALD | 28/07/2023 | Construction of tube wells (2 nos.) by Reverse rotary method of drilling at HW site and 2nd TW site , soil investigation at OHR site, constructions of 400 Cum OHR at HW , construction of pump house and boundary wall at H/W and 2nd site, laying of rising | M/S ELITE CONSTRUCTION | BENGKANDI PIPED WATER SUPPLY SCHEME ( SM/16820 ) | 4284 | 990 | 3294
30 | 02/05/2024 | ISS/000006/2024-2025 | D.I. Pipe | MI/01863 | K9 | 150 | Meter | 1114/ALD | 28/07/2023 | Construction of tube wells (2 nos.) by Reverse rotary method of drilling at HW site and 2nd TW site , soil investigation at OHR site, constructions of 400 Cum OHR at HW , construction of pump house and boundary wall at H/W and 2nd site, laying of rising | M/S ELITE CONSTRUCTION | BENGKANDI PIPED WATER SUPPLY SCHEME ( SM/16820 ) | 896 | 495 | 401
31 | 02/05/2024 | TRN/000013/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 29167 | 1000 | 28167
32 | 10/05/2024 | TRN/000016/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 2882 | 150 | 2732
33 | 10/05/2024 | ISS/000010/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 2636/ALD | 21/12/2022 | Construction of Pump House, Boundary Wall, Tube well Boring by Reverse Rotary Method of drilling including Rising Main at H/W site and 2nd site along with repairing of office godown for Bhatibari Zone-I PWSS Under Alipurduar Division PHE DTE | DULAL DAS | AUGMENTATION OF BHATIBARI PIPED WATER SUPPLY SCHEME ( SM/14096 ) | 2882 | 150 | 2732
34 | 13/05/2024 | ISS/000012/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 2863/ALD | 17/01/2023 | Constructions of P/H and T/W Boring by ODEX-165 Method of drilling at HW and 2nd site , LDS with UPVC P/L inclu. rising main and delivery connection, Cons. of 200 Cum OHR as per Departmental Design & drawing alongwith soil investigation, providing FHTC a | HARIDAS GHOSH | MARAKHATA PIPED WATER SUPPLY SCHEME. ( SM/13304 ) | 2446 | 550 | 1896
35 | 13/05/2024 | ISS/000014/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 3574/ALD | 27/03/2023 | Cons. of Pump House & Tube well Boring by ODEX-165 Method drilling at HW Site & 2nd Site, laying distribution system with UPVC pipeline including rising main & delivery connection, Cons. of 150cum OHR as per departmental Design & drawing along with soil | TAPASH KUMAR BHOWMICK | TURTURI PIPED WATER SUPPLY SCHEME. ( SM/14219 ) | 1896 | 80 | 1816
36 | 16/05/2024 | TRN/000017/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 29167 | 300 | 28867
37 | 16/05/2024 | ISS/000011/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3394/ALD | 16/03/2023 | Boring of Tube Well, Construction of Pump House, Boundary Wall, OHR, Laying Of Rising Main, Distribution System including soil test and providing FHTC for Prodhanpara PWSS Under Alipurduar Division, PHE Dte. (2nd call) | MESSRS A.B.G CONSTRUCTION | PRODHANPARA PIPED WATER SUPPLY SCHEME ( SM/13247 ) | 29167 | 300 | 28867
38 | 16/05/2024 | TRN/000018/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1816 | 550 | 1266
39 | 16/05/2024 | TRN/000019/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1816 | 20 | 1796
40 | 16/05/2024 | TRN/000020/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1816 | 80 | 1736
41 | 16/05/2024 | ISS/000013/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 2855/ALD | 17/01/2023 | Cons. of pump house and Sinking of 250 mm x 200 mm X 150 mtr. Big dia. TW at HW site and 2nd site, LDS with UPVC pipeline, Cons. of 200 Cum OHR as per Departmental Design and drawing inclu. Soil testing, providing FHTC and others allied works for Brajerku | TAPASH KUMAR BHOWMICK | BRAJERKUTHI PIPED WATER SUPPLY SCHEME ( SM/13300 ) | 1816 | 20 | 1796
42 | 16/05/2024 | TRN/000021/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1796 | 66 | 1730
43 | 16/05/2024 | TRN/000022/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 28867 | 600 | 28267
44 | 16/05/2024 | ISS/000016/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 2981/ALD | 02/02/2023 | Tube well Boring by ODEX-165 Method of drilling at HW, FIRST TUBE WELL site including laying distribution system with new UPVC pipeline , Constructions of 250 Cum OHR as per Departmental Design & drawing including soil investigation works , 2nos pump hou | SOUVIK ROY PALADHI | ATIABARI TEA GARDEN PIPED WATER SUPPLY SCHEME. ( SM/14092 ) | 28867 | 600 | 28267
45 | 16/05/2024 | ISS/000015/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter | 209/ALD | 16/01/2024 | Laying of HDPE/DI Pipeline for filling up the gap & bridge / culvert crossing, specials repair with trial run of pipeline and allied works at Sankosh TG PWSS under Alipurduar Division, PHE Dte. | SOUVIK ROY PALADHI | SANKOSH TG AREA PIPED WATER SUPPLY SCHEME ( SM/11485 ) | 1796 | 66 | 1730
46 | 17/05/2024 | TRN/000023/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 28267 | 600 | 27667
47 | 17/05/2024 | ISS/000017/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 14/ALD | 01/04/2022 | Construction of Pump House, Boundary Wall, Tube well Boring by ODEX-165 Method of drilling including laying distribution system, Rising main and providing FHTC for MECHPARA TEA GARDEN AREA PWSS under Alipurduar Division PHE DTE | SHREE RANISATI ENTERPRISE | MECHPARA TEA GARDEN AREA PIPED WATER SUPPLY SCHEME ( SM/10176 ) | 28267 | 600 | 27667
48 | 17/05/2024 | TRN/000024/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1730 | 286 | 1444
49 | 22/05/2024 | TRN/000025/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1730 | 99 | 1631
50 | 27/05/2024 | TRN/000026/2024-2025 | D.I. Pipe | MI/01854 | K7 | 200 | Meter |  |  |  |  | Opening Stock ( SM/10027 ) | 1603 | 27 | 1576
51 | 27/05/2024 | TRN/000028/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 27367 | 204 | 27163
52 | 27/05/2024 | TRN/000027/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 27367 | 300 | 27067
53 | 27/05/2024 | ISS/000021/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1883/ALD | 07/09/2023 | Providing FHTC from existing distribution system as per specification for Bhatkhawa TG PWSS under Alipurduar Division, PHE Dte. | PRANAB GHOSH | BHATKHAWA TEA GARDEN PIPED WATER SUPPLY SCHEME ( SM/14211 ) | 27367 | 204 | 27163
54 | 29/05/2024 | TRN/000029/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 27163 | 848 | 26315
55 | 29/05/2024 | TRN/000030/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 27163 | 700 | 26463
56 | 29/05/2024 | ISS/000022/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1995/ALD | 15/09/2023 | Providing FHTC from existing distribution system as per specification for DALIMPUR PWSS under Alipurduar Division, PHE Dte. | SREE MAA CONSTRUCTION | AUGMENTATION OF DALIMPUR PWSS ( SM/18254 ) | 27163 | 848 | 26315
57 | 29/05/2024 | ISS/000023/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1492/ALD | 05/09/2022 | Providing Functional Tap Connection (FHTC) in connection with Jaldhara/JalSwapna (Schools, AWC and others) for Uttar Sishubari PWSS under Alipurduar Division, PHE Dte. Part-4 | MITHUN DAS | AUGMENTATION OF UTTAR SISUBARI WATER SUPPLY SCHEME ( SM/11959 ) | 26315 | 700 | 25615
58 | 13/06/2024 | TRN/000035/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 26602 | 500 | 26102
59 | 13/06/2024 | ISS/000028/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3193/ALD | 27/02/2023 | Tube well Boring by ODEX-165 Method of drilling at HW, FIRST TUBE WELL site including laying distribution system with new HDPE pipeline , Constructions of 150 Cum OHR as per Departmental Design & drawing , TWO nos pump house & boundary wall, providing FH | S.G. CONSTRUCTION | BHATKHAWA TEA GARDEN PIPED WATER SUPPLY SCHEME ( SM/14211 ) | 26602 | 500 | 26102
60 | 26/06/2024 | TRN/000037/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 26102 | 200 | 25902
61 | 26/06/2024 | ISS/000030/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3634/ALD | 31/03/2023 | Construction of tube wells (2 nos.) by Reverse rotary method of drilling at HW site and 2nd TW site , constructions of 200 Cum OHR at HW including soil investigation , construction of pump house and boundary wall at H/W and 2nd site, laying of rising mai | M/S MRITYUNJAY PAUL AND SONS | DALGAON TEA GARDEN PIPED WATER SUPPLY SCHEME. ( SM/16823 ) | 26102 | 200 | 25902
62 | 26/06/2024 | TRN/000038/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 25902 | 500 | 25402
63 | 26/06/2024 | ISS/000031/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 966/ALD | 12/07/2023 | Providing Functional Tap Connection (FHTC) in connection with Jaldhara/JalSwapna (Schools, AWC and others) for Dalimpur PWSS under Alipurduar Division, PHE Dte. Part-3 | TAPASH DAS | AUGMENTATION OF DALIMPUR PWSS ( SM/18254 ) | 25902 | 500 | 25402
64 | 26/06/2024 | TRN/000039/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 25402 | 100 | 25302
65 | 26/06/2024 | ISS/000032/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1582/ALD | 24/08/2023 | Cons. Of Rising line, pathway, surface drain, laying of DI and UPVC pipeline and restoration of FHTC at Salkumarhat PWSS under Alipurduar Division, PHE Dte. | TAPASH DAS | AUGMENTATION OF SALKUMARHAT PIPED WATER SUPPLY SCHEME ( SM/10316 ) | 25402 | 100 | 25302
66 | 26/06/2024 | TRN/000040/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 25302 | 283 | 25019
67 | 16/07/2024 | TRN/000048/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 22489 | 300 | 22189
68 | 16/07/2024 | TRN/000049/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 22489 | 284 | 22205
69 | 16/07/2024 | TRN/000050/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 22489 | 1690 | 20799
70 | 16/07/2024 | ISS/000039/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 2858/ALD | 17/01/2023 | Constructions of pump house & Sinking of 250 mm x 200 mm X 150 mtr Big dia Tubewel at HW site & 2nd site , laying of distribution system with UPVC pipeline , Constructions of 200 Cum OHR as per Departmental Design & drawing including soil test, pr | SOUVIK ROY PALADHI | PURBA CHIKLIGURI PIPED WATER SUPPLY SCHEME ( SM/13301 ) | 22489 | 1690 | 20799
71 | 16/07/2024 | TRN/000051/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 20799 | 284 | 20515
72 | 16/07/2024 | ISS/000040/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1881/ALD | 07/09/2023 | Providing FHTC from existing distribution system as per specification for Atiabari TG PWSS under Alipurduar Division, PHE Dte. | SOUVIK ROY PALADHI | ATIABARI TEA GARDEN PIPED WATER SUPPLY SCHEME. ( SM/14092 ) | 20799 | 284 | 20515
73 | 16/07/2024 | TRN/000052/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | ATIABARI TEA GARDEN PIPED WATER SUPPLY SCHEME. ( SM/14092 ) | 20515 | 284 | 20231
74 | 16/07/2024 | TRN/000006/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | KAYAKHATA PIPED WATER SUPPLY SCHEME ( SM/13299 ) | 30245 | 1585 | 28660
75 | 23/07/2024 | TRN/000053/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 50760 | 1000 | 49760
76 | 23/07/2024 | ISS/000041/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3000/ALD | 06/02/2023 | Tube well boring by ODEX-165, Construction of pump house and boundary wall including laying distribution system with new UPVC pipeline with rising and delivery line connection, Providing FHTC and other allied works for KUMARGRAM PWSS under Alipurduar Divi | ANUGRAH CONSTRUCTION PRIVATE LIMITED | AUGMENTATION OF KUMARGRAM PIPED WATER SUPPLY SCHEME ( SM/11985 ) | 50760 | 1000 | 49760
77 | 29/08/2024 | TRN/000066/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 283 | 43312
78 | 29/08/2024 | TRN/000060/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 500 | 43095
79 | 29/08/2024 | TRN/000061/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 2000 | 41595
80 | 29/08/2024 | TRN/000062/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 500 | 43095
81 | 29/08/2024 | TRN/000063/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 15 | 43580
82 | 29/08/2024 | TRN/000064/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 492 | 43103
83 | 29/08/2024 | TRN/000065/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 150 | 43445
84 | 29/08/2024 | TRN/000070/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 150 | 43445
85 | 29/08/2024 | TRN/000056/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 300 | 43295
86 | 29/08/2024 | TRN/000057/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 521 | 43074
87 | 29/08/2024 | TRN/000058/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 470 | 43125
88 | 29/08/2024 | TRN/000059/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 410 | 43185
89 | 29/08/2024 | TRN/000067/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 200 | 43395
90 | 29/08/2024 | TRN/000068/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 74 | 43521
91 | 29/08/2024 | TRN/000069/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43595 | 157 | 43438
92 | 29/08/2024 | ISS/000044/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1639/ALD | 19/09/2022 | Tube well Boring by ODEX-165 method of drilling at Head work site, Construction of 1 no. Pump house and Boundary wall at headwork site, Rising Main and Distribution line with FHTC (Part-1) for BANDAPANI TG AREA PWSS (ZONE-I) under Birpara Sub-Division, Al | PRAMESH LAMA | Bandpani Tea Garden Areas Piped Water Supply Scheme. ( SM/11483 ) | 43595 | 150 | 43445
93 | 29/08/2024 | ISS/000046/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1171/ALD | 03/08/2023 | Constructions of 2(TWO) NOS 150 Cum OHR as per Departmental Design & drawing including laying distribution system with new HDPE pipeline, RISING MAIN, Construction of BOUNDARY WALL, 4(FOUR) NOS ODEX-165 TUBE WELL, 4(FOUR) NOS PUMP HOUSE, Soil Investigati | M/S RADHASWAMI ENTERPRISE | RANGAMATI TEA GARDEN PIPED WATER SUPPLY SCHEME ( SM/14213 ) | 43445 | 300 | 43145
94 | 29/08/2024 | TRN/000072/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 43145 | 150 | 42995
95 | 29/08/2024 | TRN/000071/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Piped Water Supply Scheme for Jaigaon Development Area (JDA) Based on Sub-Surface Water Source of River Torsa ( SM/05647 ) | 43145 | 500 | 42645
96 | 29/08/2024 | ISS/000057/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 3623/ALD | 30/03/2023 | Remaining portion of pipeline of JDA Zone-I & Zone-II and special Road repairing of Zone-I and II and Zone-4B, providing pipeline and FHTC of Ramgaon. | D. K. & SONS | FHTC under Jaldhara/Jal Sapna including retrofitting of existing distribution system under the command area of Jaigaon & Falakata water supply scheme. ( SM/08080 ) | 43145 | 500 | 42645
97 | 04/09/2024 | ISS/000060/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1954/ALD | 02/07/2024 | Laying of rising main line with HDPE PN10, horizontal boring by HDD method , bridge and culvert crossing, left out portion of household connection with HDPE pipe, providing balance FHTC, construction of pathway, surface drain and chatal, installation of p | CHANDAN KIRTONIA | F.H.T.C Under Jaldhara/Jalswapna including retrofitting of existing distribution System under the command area of Dhaolajhora T.G Piped Water Supply Scheme ( SM/07191 ) | 42595 | 300 | 42295
98 | 05/09/2024 | TRN/000075/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 42295 | 300 | 41995
99 | 27/09/2024 | TRN/000076/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 41995 | 300 | 41695
100 | 27/01/2025 | TRN/000081/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 40361 | 117 | 40244
101 | 27/01/2025 | TRN/000082/2024-2025 | Gun Metal Ferrule | MI/03112 |  | 10 | Each |  |  |  |  | Opening Stock ( SM/10027 ) | 40361 | 100 | 40261
102 | 08/09/2025 | ISS/000018/2025-2026 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1280/ALD | 11/08/2023 | Construction of boundary wall, pump house, tubewell, rising main for (Mouza- Lankapara TG, JL No. 30, Sheet No. 5, Plot No. 704) 327 units Cha Sundori Water Supply Scheme under Alipurduar Division PHE DTE. | ASHOK PRADHAN | Supply of Potable Drinking Water to Lankapara Tea Garden Area Piped Water Supply Scheme in relation with Chaa Sundari Project. ( SM/10054 ) | 19248 | 327 | 18921
103 | 08/12/2025 | ISS/000019/2025-2026 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1878/ALD | 07/09/2023 | Providing FHTC from existing distribution system as per specification for Ethelbari PWSS under Alipurduar Division, PHE Dte. | NARENDRA BHADANI. | ETHELBARI TEA GARDEN AREA PIPED WATER SUPPLY SCHEME ( SM/13449 ) | 18921 | 8 | 18913
104 | 11/03/2026 | ISS/000023/2025-2026 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1049/ALD | 17/06/2025 | Providing Functional Tap Connection (FHTC) in connection with Jaldhara/JalSwapna for Kumargram Block under Alipurduar Division, PHE Dte. (Pin point site of the FHTC will be given at the time of issue of work order) | MOTI INDUSTRIES | AUGMENTATION OF KAIJALI BASTY WATER SUPPLY SCHEME ( SM/11958 ) | 17984 | 150 | 17834
105 | 11/03/2026 | ISS/000024/2025-2026 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1051/ALD | 17/06/2025 | Providing Functional Tap Connection (FHTC) in connection with Jaldhara/JalSwapna for Alipurduar-II Block under Alipurduar Division, PHE Dte. (Pin point site of the FHTC will be given at the time of issue of work order) | MOTI INDUSTRIES | KAYAKHATA PIPED WATER SUPPLY SCHEME ( SM/13299 ) | 17834 | 150 | 17684
106 | 16/03/2026 | ISS/000025/2025-2026 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 2921/ALD | 29/01/2026 | Laying of pipeline distribution system (Parallel and left out area) and other allied works at Paschim khairbari PWSS under Madarihat-Birpara Block under Alipurduar Division, PHE Dte. | GIRIRAJ ENTERPRISE | REJUVENATION OF 'PASCHIM KHAIRBARI WATER SUPPLY SCHEME' ( SM/09900 ) | 17684 | 180 | 17504
107 | 02/09/2026 | ISS/000001/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1052/ALD | 17/06/2025 | Providing Functional Tap Connection (FHTC) in connection with Jaldhara/JalSwapna for Kalchini Block under Alipurduar Division, PHE Dte. (Pin point site of the FHTC will be given at the time of issue of work order) | MOTI INDUSTRIES | AUGMENTATION OF HASIMARA WATER SUPPLY SCHEME ( SM/12361 ) | 17504 | 200 | 17304
108 | 10/09/2026 | ISS/000005/2026-2027 | D.I. Pipe | MI/01862 | K9 | 100 | metre | 1452/ALD | 25/06/2026 | Continuation for the work of Annual Mtc. Of pipeline and other misc works related to pipeline of Naothoartari WSS under APD-I Block within Alipurduar Division, P.H.E. Dte.(From 01.07.2026 to 30.09.2026) | DAS & DAS ENTERPRISE | NAOTHOARTARI PIPED WATER SUPPLY SCHEME ( SM/12754 ) | 18656 | 15 | 18640
109 | 10/09/2026 | ISS/000006/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1792/ALD | 29/08/2023 | Providing balance FHTC for NEWLAND TG PWSS under Alipurduar Division, PHE Dte. | SUBHAK CHIK BARAIK | NEWLANDS TG AREA PIPED WATER SUPPLY SCHEME ( SM/11484 ) | 16314 | 50 | 16264
110 | 10/09/2026 | ISS/000007/2026-2027 | D.I. Pipe | MI/01862 | K9 | 100 | metre | 1824/ALD | 30/07/2026 | Gap filling of distribution line and others allied works for Augmentation of Dakshin Sonapur PWSS within Alipurduar-I Block under Alipurduar Division, PHE DTE. | HARIDAS GHOSH | AUGMENTATION OF DAKSHIN SONAPUR WATER SUPPLY SCHEME ( SM/11970 ) | 18640 | 110 | 18530
111 | 10/09/2026 | ISS/000008/2026-2027 | D.I. Pipe | MI/01862 | K9 | 100 | metre | 3575/ALD | 27/03/2023 | Boring of TW, Cons. Of Pump House, boundary wall, OHR (300 cum) inclu. Soil investigation works, Laying of rising main, distribution system and providing FHTC for MADHYA KHAIRBARI PWSS under Alipurduar Division PHE DTE. | DILIP MAHATO | MADHYA KHAIRBARI PIPED WATER SUPPLY SCHEME ( SM/13248 ) | 18530 | 220 | 18310
112 | 10/09/2026 | ISS/000009/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1459/ALD | 25/06/2026 | Continuation for the work of Day to day operation and maintenance of Jaigaon Rest Shed under Alipurduar Division, PHE Dte. (From 01.07.2026 to 30.09.2026) | MAHENDRA CHHETRI | Piped Water Supply Scheme for Jaigaon Development Area (JDA) Based on Sub-Surface Water Source of River Torsa ( SM/05647 ) | 16264 | 6 | 16258
113 | 30/09/2026 | ISS/000010/2026-2027 | D.I. Pipe | MI/01862 | K9 | 100 | metre | 1407/ALD | 25/06/2026 | Continuation for the work of Annual Mtc. Of pipeline and other misc works related to pipeline of APD Municipality (Zone-I,II III ) WSS and APD Hospital WSS under RWS Sub-Division within Alipurduar Division, P.H.E. Dte. (From 01.07.2026 to 30.09.2026) | SANKAR ROY | Alipurduar Municipal Water Supply Scheme ( SM/03561 ) | 18310 | 5 | 18305
114 | 06/10/2026 | ISS/000011/2026-2027 | D.I. Pipe | MI/01862 | K9 | 100 | metre | 1408/ALD | 25/06/2026 | Continuation for the work of Annual Mtc. Of pipeline and other misc works related to pipeline of Tapshikatha WSS, Patlakhawa WSS and Dakshin Sonapur WSS under APD-I Block within Alipurduar Division, P.H.E. Dte. .(From 01.07.2026 to 30.09.2026) | TAPASH DAS | PATLAKHAWA WATER SUPPLY SCHEME ( SM/00151 ) | 18305 | 16 | 18288
115 | 09/10/2026 | ISS/000012/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 972/ALD | 12/06/2025 | Restoration of damaged FHTCs of Purba Chepani PWSS under Alipurduar Division, PHE Dte. | KOUSHIK BHOWMICK | AUGMENTATION OF PURBA CHEPANI WATER SUPPLY SCHEME ( SM/10669 ) | 16258 | 5 | 16253
116 | 09/10/2026 | ISS/000013/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 1629/ALD | 04/08/2025 | Providing Functional Tap Connection (FHTC) in connection with Jaldhara/JalSwapna for Falakata Block under Alipurduar Division, PHE Dte. (Pin point site of the FHTC will be given at the time of issue of work order) | NARENDRA BHADANI. | AUGMENTATION OF JAGIJHORA BARABAK PIPED WATER SUPPLY SCHEME ( SM/10169 ) | 16253 | 100 | 16153
117 | 09/10/2026 | ISS/000014/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 5657/ALD | 28/03/2025 | Annual Mtc. Of pipeline and other misc works related to pipeline of Kaijali Busty WSS under Kumargram Block within Alipurduar Division, P.H.E. Dte. .(from 01.04.2025 to 31.03.2026) | RAMEN DEY & CO | KAIJALI BASTY WATER SUPPLY SCHEME ( SM/00032 ) | 16153 | 100 | 16053
118 | 09/10/2026 | ISS/000015/2026-2027 | Gun Metal Ferrule | MI/03112 |  | 10 | Each | 669/ALD | 21/05/2025 | Providing FHTC from existing distribution system as per specification for TOTOPARA PWSS under madarihat - Birpara Block under Alipurduar Division PHE Dte. | DULAL DAS | F.H.T.C Under Jaldhara/Jalswapna including retrofitting of existing distribution System under the command area of Totopara Piped Water Supply Scheme ( SM/07180 ) | 16053 | 324 | 15729